| رديف | ### نام آزمون | شماره استاندارد |
| --- | --- | --- |
|  | Tests of insulation properties |  |
| 1 | Impulse voltage tests | 7.3.2(IEC62052-11) |
| 2 | ## AC voltage tests | 7.4(IEC 62053-21,23) |
|  | Tests of accuracy requirements |  |
| 3 | Test of meter constant | 8.4(IEC 62053-21,23) |
| 4 | Test of starting condition | 8.3.3 (IEC 62053-21,23) |
| 5 | Test of no-load condition | 8.3.2 (IEC 62053-21,23) |
| 6 | Ambient temperature influence(-25 ºC to +60 ºC) | 8.2(IEC 62053-21,23) |
| 7 | Voltage variation | 8.2(IEC 62053-21,23) |
| 8 | Frequency variation | 8.2(IEC 62053-21,23) |
| 9 | Reverse phase sequence | 8.2(IEC 62053-21,23) |
| 10 | Voltage unbalance | 8.2(IEC 62053-21,23) |
| 11 | Harmonic component in current and voltage circuits | 8.2(IEC 62053-21,23) |
| 12 | DC and even harmonics in the ac current circuits | 8.2(IEC 62053-21,23) |
| 13 | Odd harmonics in the ac current circuit | 8.2(IEC 62053-21,23) |
| 14 | Sub-harmonics in the ac current circuit | 8.2(IEC 62053-21,23) |
| 15 | Continuous magnetic induction of external origin | 8.2(IEC 62053-21,23) |
| 16 | Magnetic induction of external origin 0.5mT | 8.2(IEC 62053-21,23) |
| 17 | Magnetic induction of external origin 200mT | --- |
| 18 | Operation of accessories | 8.2(IEC 62053-21,23) |
| 19 | Test of variation of the current | 8.1(IEC 62053-21,23) |
| 20 | Initial start- up of meter | 8.3.1 (IEC 62053-21,23) |
|  | #### Tests of electrical requirements |  |
| 21 | Test of power consumption | 7.1(IEC 62053-21,23) |
| 22 | Test of influence of supply voltage | 7.1.2(IEC 62052-11) |
| 23 | Test of influence of short-time over currents | 7.2(IEC 62053-21,23) |
| 24 | Test of influence of self-heating | 7.3(IEC 62053-21,23) |
| 25 | Test of influence heating | 7.2(IEC 62052-11) |
| 26 | Test of immunity to earth fault | 7.4(IEC 62052-11) |
|  | Tests of electromagnetic compatibility (EMC) |  |
| 27 | Radio interference suppression | 7.5.8(IEC 62052-11) |
| 28 | Fast transient burst test | 7.5.4(IEC 62052-11) |
| 29 | Damped oscillatory waves immunity test | 7.5.7(IEC 62052-11) |
| 30 | Test of immunity to electromagnetic RF fields | 7.5.3(IEC 62052-11) |
| 31 | Test of immunity to conducted disturbances, induced by radio-frequency fields | 7.5.5(IEC 62052-11) |
| 32 | Test of immunity to electrostatic discharge | 7.5.2(IEC 62052-11) |
| 33 | Surge immunity test | 7.5.6(IEC 62052-11) |
|  | Tests of the effect of the climatic environments |  |
| 34 | Dry heat test | 6.3.1(IEC 62052-11) |
| 35 | Cold test | 6.3.2(IEC 62052-11) |
| 36 | Damp heat, cyclic test | 6.3.3(IEC 62052-11) |
| 37 | Solar radiation test | 6.3.4(IEC 62052-11) |
| 38 | Limit range of operation -40 ºC to +70 ºC | 6.1(IEC 62052-11) |
|  | Mechanical tests |  |
| 39 | Vibration test | 5.2.2.3(IEC 62052-11) |
| 40 | Shock test | 5.2.2.2(IEC 62052-11) |
| 41 | Spring hammer test | 5.2.2.1(IEC 62052-11) |
| 42 | Tests of protection against penetration of dust and water | 5.9(IEC 62052-11) |
| 43 | Test of resistance to heat and fire | 5.8(IEC 62052-11) |
| 44 | Test of terminal block | 5.4(IEC 62052-11) |
|  | General tests |  |
| 45 | Output device and register | 5.11(IEC 62052-11) |
| 46 | ##### Inspection of window, terminals, terminal cover and marking of meter | 5.3,5.4,5.5,5.12 (IEC 62052-11) |
|  | Relay Tests |  |
| 47 | Electrical endurance | 11(IEC 61810-1) |
| 48 | Mechanical endurance | 12(IEC 61810-1) |
| 49 | Contact Material of relay | --- |
| 50 | Short circuit characteristic test | IEC 62055-31 (UC3) |
| 51 | Insulation tests | SP-1618 |
|  | Communication module |  |
|  | Physical Layer Tests for PLC-SFSK |  |
| 52 | PLC Conformance to EN 50065-1 standard | EN 50065-1 |
| 53 | Robustness against impulsive noise according | IEC 61334-5-1 |
| 54 | Robustness against white noise | IEC 61334-5-1 |
| 55 | Robustness against sinusoidal noise | IEC 61334-5-1 |
| 56 | Robustness against frequency selective noise | IEC 61334-5-1 |
| 57 | Robustness against periodic disturbance test | IEC 61334-5-1 |
| 58 | Measurement of crosstalk between PLC networks | --- |
| 59 | Coexistence testing for different PLC systems | --- |
| 60 | Behavior of PLC within a low impedance circuit | --- |
| 61 | EMC: Fast transients | IEC61000-4-4 |
| 62 | EMC: Transient immunity : Conducted disturbances immunity Test | IEC61000-4-6 |
| 63 | EMC: Transient immunity : Damped oscillatory waves | IEC61000-4-12 |
|  | Data Link Layer Tests of PLC-SFSK |  |
| 64 | Plug and Play registering | IEC 61334-5-1 IEC 61334-5-32 |
| 65 | Reaction to network topology changes | IEC 61334-5-1 IEC 61334-5-32 |
| 66 | Useful data throughput | IEC 61334-5-1 IEC 61334-5-32 |
| 67 | Priority Management | IEC 61334-5-1 IEC 61334-5-32 |
|  | Protocol Tests for PLC-SFSK |  |
| 68 | Testing IEC 61334 protocol | IEC 61334 |
|  | Functional Tests for PLC-SFSK |  |
| 69 | Verify the behavior of the PLC's registering procedure. | --- |
| 70 | Observe the behavior of the PLC's in register reading performances. | --- |
| 71 | Observe the behavior of the PLC's in load profile reading performances. | --- |
| 72 | Observe the efficiency of alarm functionalities. | --- |
| 73 | Observe the behavior of the PLC's in firmware update. | --- |
| 74 | Verify the behavior of the PLC's registering procedure. | --- |
| 75 | Observe the behavior of the PLC's in register reading performances. | --- |
|  | GPRS Modem conformance test |  |
| 76 | Conducted spurious emissions | 12-1 (ETSI TS 151 010-1) |
| 77 | Radiated spurious emissions | 12-2 (ETSI TS 151 010-1) |
| 78 | Frequency error and phase error | 13-1 (ETSI TS 151 010-1) |
| 79 | Frequency error under multipath and interference conditions | 13-2 (ETSI TS 151 010-1) |
| 80 | Transmitter output power and burst timing | 13-3 (ETSI TS 151 010-1) |
| 81 | Output RF spectrum | 13-4 (ETSI TS 151 010-1) |
| 82 | Frequency error and phase error in GPRS multi slot configuration | 13-16-1 (ETSI TS 151 010-1) |
| 83 | Transmitter output power in GPRS multi slot configuration | 13-16-2 (ETSI TS 151 010-1) |
| 84 | Output RF spectrum in GPRS multi slot configuration | 13-16-3 (ETSI TS 151 010-1) |
| 85 | Bad frame indication-TCH/FS | 14-1 (ETSI TS 151 010-1) |
| 86 | Reference sensitivity - TCH/FS | 14-2 (ETSI TS 151 010-1) |
| 87 | Adjacent channel rejection | 14-5 (ETSI TS 151 010-1) |
| 88 | Intermodulation rejection | 14-6 (ETSI TS 151 010-1) |
| 89 | Blocking and spurious response | 14-7 (ETSI TS 151 010-1) |
| 90 | AM suppression | 14-8 (ETSI TS 151 010-1) |
| 91 | Paging performance at high input levels | 14-9 (ETSI TS 151 010-1) |
| 92 | Performance of the Codec Mode Request Generation for Adaptive Multi-Rate Codecs | 14-10 (ETSI TS 151 010-1) |
| 93 | Minimum Input level for Reference Performance | 14-16-1 (ETSI TS 151 010-1) |
| 94 | Co-channel rejection | 14-16-2 (ETSI TS 151 010-1) |
| 95 | Acknowledged mode / Downlink TBF / I_LEVEL measurement Report | 14-16-3 (ETSI TS 151 010-1) |
| 96 | DARP Phase 1 GPRS tests | 14-16-4 (ETSI TS 151 010-1) |
| 97 | DARP Phase II GPRS tests | 14-16-5 (ETSI TS 151 010-1) |
| 98 | GPRS Timing advance and absolute delay | 15-6 (ETSI TS 151 010-1) |
| 99 | Reception time tracking speed | 16 (ETSI TS 151 010-1) |
| 100 | Access times during handover | 17 (ETSI TS 151 010-1) |
| 101 | Temporary reception gaps | 18 (ETSI TS 151 010-1) |
| 102 | Channel release after unrecoverable errors | 19 (ETSI TS 151 010-1) |
| 103 | Cell selection and reselection | 20 (ETSI TS 151 010-1) |
| 104 | Received signal measurement | 21 (ETSI TS 151 010-1) |
| 105 | Transmit power control timing and confirmation | 22 (ETSI TS 151 010-1) |
| 106 | Magnetic field immunity | IEC 61000-4-8 |
| 107 | Voltage dips short interruptions | IEC 61000-4-11 |
| 108 | Harmonic standard | IEC 61000-3-2 |
| 109 | Limitations of voltage fluctuations and flicker | IEC 61000-3-3 |
| 110 | Conducted an radiated EMI | EN 55022 |
| 111 | Single frequency reference | 23 (ETSI TS 151 010-1) |
| 112 | DLMS Protocol tests | IEC 62056 |
| 113 | Meter Bus conformance tests | --- |